AN ESTIMATION OF CORRELATION ON                               THERMO-ACOUSTIC PROPERTIES OF MINERAL WOOL

R.K. Srivastavaa R.L. Dhabalb, B.M. Sumanc,

Anuj Sainid, Poonam Panchald

Central Building Research Institute, Roorkee – 247667, India.

Abstract:

Building materials are widely used for thermal insulation and sound absorption in buildings. The recent trend of their utilization by the architects for improved thermo-acoustical environment has widened the scope. Since large-scale industries on building materials are increasing, it is very essential that thermo-acoustical characteristics of materials be studies for their improved performance and utilization in the abatement of community noise and thermal comforts indoors.

Mineral wool is a class of building material available in the form of blankets and acoustical tiles. In these materials sound energy is dissipated in the interstices of the fibers. Their efficiency is maximum at high frequencies where the wavelength of the acoustic wave becomes comparable with the thickness of the material used as absorbers. Thermal performances of fibrous material are found to be very good. It is also observed that as density of such materials increases, thermal conductivity and sound absorption changes.

The paper describes the thermal and acoustical properties of this fibrous material in detail. Thermal conductivity and sound absorption coefficient of materials has been determined at Central Building Research Institute, Roorkee. Measurement processes for these properties have also been described in this paper. For measurement of sound absorption coefficient standing wave method is used and for thermal conductivity Guarded Hot Plate Apparatus is used. Finally the paper describes regression equations correlation between Noise reduction coefficient (NRC) and Thermal conductivity (K) for mineral wool material .The equation is useful to determine NRC value by knowing the K-value and vice versa for indoor design purposes.

Introduction:

Porous acoustical materials with intercommunicating pores form an important class of sound absorbing materials. In these materials dissipation of sound energy takes place by the action of thermal and viscous processes.

Due to wide range of available thicknesses and densities of mineral wool these have much wider application as sound absorbers. Therefore evaluation of acoustical performances of sound absorption coefficient values has been studied by standing wave apparatus in the laboratory. The absorption characteristics are governed by their physical properties. In general porous material with rigid backing absorbs more at middle and high frequencies than at low frequencies of sound. The pores of fibrous material must be intercommunicating so that sound wave can easily penetrate into the material and attenuation of sound energy takes place by multiple reflections inside the material. There has been attempt to theoretically predict the acoustical behavior of

aScientist – F, bScientist – EII, cTech. Officer – C, dResearch Intern

fibrous material starting from its basic physical properties. The basic physical properties of mineral wool material and the acoustical efficiency of this material have been determined by the physical parameter known as sound absorption coefficient.

When sound waves are incident on the surface of a material some of the sound energy is reflected back while some is absorbed in the material and some of sound energy transmitted on the other side of the material. The reduction in sound energy reflected would give the idea of sound energy absorbed by the surface of the material. In this method measurement can be done with a very small sample of the material. The sound absorption coefficient denoted by ‘’ (alpha) of a material is defined as the ratio of sound energy absorbed to the total energy incident. It depends on the nature of material, the frequency of sound and the angle at which sound waves strikes on the surface of the material. The overall sound absorption of different materials can be compared through noise reduction coefficient values. It is the average of coefficients at four different frequencies 250,500,1000 and 2000 Hz.

The thermal performance of a space is dependent on the amount of heat flowing from outside to the inside and vice – versa through various building components. The building material is characterized by the physical quantity called thermal conductivity to evaluate its ability to transfer heat by conduction through a homogeneous layer of material. Mineral wool is a good thermal insulating material. Its thermal conductivity value is higher for low densities and as the density increases K value decreases in the beginning and then establishes. In the present study, the K value of mineral wool has been determined using Guarded Hot Plate Apparatus.

Thus as the density changes, the thermal and acoustical behaviour changes causing variation in thermo - acoustic environment indoors.

Thermo – acoustic behavior of materials in buildings:

The thermo – acoustic indoor environment of a space depends much on the thermal and acoustical performance of fibrous mineral wool material when used as lining material on indoor walls, whereas a lower value of K, the thermal conductivity of material helps resisting outside heat being transmitted into the building during summers and reverse in winters. Thus improving the thermal efficiency of the indoor space results in comfortable living conditions.

The application of mineral wool also improves the indoor acoustical environment by cutting down the excessive reverberation within the space. Thus the need of correlation between the thermal conductivity and sound absorption coefficient is found to be an important parameter to assess the thermo – acoustic environment when such materials are applied in building – An attempt has been made in this study to establish a correlation between these two physical parameters of different densities of mineral wool available in the market.

# Measurement of sound absorption coefficient and Thermal conductivity: -

(a) Measurement of sound absorption coefficient: -

Sound Absorption coefficient measurement is done by standing wave tube method. The sound waves are generated from beat frequency oscillator. As per                  ASTM C-384-1977 measurement, we have chosen six frequencies namely 125,250,500,1000,2000 and 4000 Hz. The material is cut in a circular shape of given thickness and fitted in different sample holders. The sample holder is tightened by bolts at the one end of the tube with rigid backing. The loudspeaker is fitted at the other end of this tube. The sound waves of selected frequencies generated from the beat frequency oscillator is reinforced by the loudspeaker and passes through the tube and falls on the sample normally. Some sound energy will be absorbed in the sample whereas some is reflected back. The reflected wave and the incident wave form a system of standing wave inside the tube, which will depend on the absorption properties of the material. The ratio of maxima (A+B) and minima (A-B) of the sound pressure along the tube is measured by moving the probe attached with a microphone, and recorded by frequency analyzer. With the help of this analyzer sound absorption coefficient is calculated.



Measuring

Amplifier

+1/3 octave

filter

Fig1: Experimental Setup of Standing wave tube

For low frequencies 125,250 and 500 Hz. we use larger tube and for high frequencies 1000,2000 and 4000 Hz. smaller tube is used.

This method is very convenient for the measurement of absorption coefficient at normal incident for fibrous material.

Thus

Absorption coefficient ‘’ = 1- (B/A)2

Where     A = amplitude of reflected wave.

B = amplitude of incident wave.

Note the fact that the energy is proportional to the square of amplitude or pressure.

The maxima measured is A+B while the minima is A-B

Maximum pressure / minimum pressure = Pmax / Pmin

= A+B/ A-B

Now let n = A+B/ A-B

i.e. the ratio of maximum to minimum pressure.

It can be shown that = 4n / n2 + 2n + 1

The measurement values are shown in table 1

## b) Measurement of thermal conductivity: -

Thermal conductivity measurement of these fibrous materials has been determined by Guarded Hot Plate Apparatus (G.H.P.) as per IS: 3346. These measurements have been made at mean temperatures 500C and 100C. Hot and Cold plate temperatures were kept constant for both sets of experiments. Hot plates temperatures were maintained at 700C and 300C by voltage stabilized temperature controller and cold plates temperatures were maintained at 300C and –100C respectively by a refrigerated thermostat. Power and temperature were monitored and observations were taken. Thermal conductivity was determined by using the formula:

# K = Q . d / A dt

Where Q is the thermal power required to maintained the steady state heat flow between   the hot and cold plate through materials, d is the thickness of the material, A is the area of central hot plate and dt is the temperature difference between hot and cold plate.

# Measurements and observations:-

Measured values of thermal conductivity, NRC and density of the materials are shown in table 1, table 2 and table 3 for 500C, 100C and normal temperature respectively.

# Table-1: Thermo-Acoustical Behavior of mineral wool at 500C: -

| S.No. | Thickness (mm.) | Density (kg/m3) | # NRC | # K (W/mk) |
| --- | --- | --- | --- | --- |
| 1. | 50 | 48 | 0.852 | 0.0302 |
| 2. | 50 | 80 | 0.832 | 0.0292 |
| 3. | 50 | 96 | 0.776 | 0.0286 |
| 4. | 50 | 120 | 0.781 | 0.0283 |
| 5. | 50 | 150 | 0.757 | 0.0279 |

# Table-2:  Thermo-Acoustical Behavior of mineral wool at 100C: -

| S.No. | Thickness (mm.) | Density (kg/m3) | # NRC | # K (W/mk) |
| --- | --- | --- | --- | --- |
| 1. | 50 | 48 | 0.852 | 0.0279 |
| 2. | 50 | 80 | 0.832 | 0.0272 |
| 3. | 50 | 96 | 0.776 | 0.0270 |
| 4. | 50 | 120 | 0.781 | 0.0270 |
| 5. | 50 | 150 | 0.757 | 0.0267 |

# Table-3: Thermo-Acoustical Behavior of mineral wool at normal                  …………    temperature: -

| S.No. | Thickness (mm.) | Density (kg/m3) | # NRC | # K (W/mk) |
| --- | --- | --- | --- | --- |
| 1. | 50 | 48 | 0.852 | 0.0325 |
| 2. | 50 | 80 | 0.832 | 0.0312 |
| 3. | 50 | 96 | 0.776 | 0.0301 |
| 4. | 50 | 120 | 0.781 | 0.0295 |
| 5. | 50 | 150 | 0.757 | 0.0289 |

Fig.(2)

Result and Discussion: -

This section is aimed at finding correlations between NRC (Noise Reduction Coefficient) and K (Thermal Conductivity) of mineral wool for different climatic conditions. The samples of different densities and at different temperatures are described in Table 1, Table 2 and Table 3. Accordingly three graphs between NRC and K are drawn. The first two graphs shows in Fig. 3 and Fig. 4 are plotted by determining NRC and corresponding K values experimentally at different densities i.e. 48, 80, 96, 120 and 150 kg/m3 as mentioned in Table 1 and Table 2. The third graph is evolved by using average values of K at mean temperature say 300C (room temperature) and NRC. So far as variation of sound absorption with temperature is concerned it is assumed the acoustical properties remain constant within the temperature range of 100C to 500C.

The correlation between NRC and K has been explored using regression least square method and the final equations are shown as equation no. (i), equation no. (ii) and equation no. (iii) along with their correlation factor.

The first figure is plotted for mean temperature of 500C

Fig. (3)

The trend line equation for Fig. (3) is represented by

NRC = -1951.7K2 + 148.54K - 1.9116		…………………………(i)

and correlation factor is 0.969.

The second figure is plotted for mean temperature of 100C

Fig. (4)

The trend line equation for Fig. (4) is represented by

NRC = -1951.7K2 + 148.54K - 1.9116		…………………………(ii)

and correlation factor is 0.941.

The third figure is plotted by the average of Fig. (1) and Fig. (2).

Fig. (5)

The trend line equation for Fig. (5) is represented by

NRC = -7182.6K2 + 460.96K - 6.5157	      …………………………(iii)

and correlation factor is 0.965.

The equation no. (iii) is useful to find out the values of NRC or K for design purpose if one variable is known at normal temperature.

The other two equations i.e. equation no. (i) & (ii) are used for the temperatures about 500C and 100C.

These three equations are useful for predicting acoustical and thermal properties of mineral wool with in acceptable accuracy. These equations are found to be in good agreement with experimental measurement.

# Conclusion: -

The above study describe about a correlation between NRC (Noise Reduction Coefficient) and K (Thermal Conductivity) for Mineral Wool.

As it is time consuming and laboures process to find out the Noise Reduction Coefficient (NRC) and Thermal Coefficient (K) experimentally. Here we can theoretically determine approximate NRC value by knowing the K-value and vice versa by applying these equations.

These equations are very useful for different climatic conditions, which vary form area to area. For acoustical and thermal relief in hilly areas where the weather remains cold about 50C the equation no. (i) is useful, equation no. (ii) is useful for hot areas where temperature is about 450C and finally equation no. (iii) can be used for general climatic condition, however mineral wool can also be used for isolation of vibrations and sound insulation.

Acknowledgement: -

The study forms part of regular research program at Central Building Research Institute, (CBRI) Roorkee. The paper is sent for publication with permission of the Director of the institute.

Reference:

- K. O. Ballagh, Acoustical properties of wool. Applied Acoustics, Vol. 48, No.2, pp. 101 –120, (1996).

- Allard, J. & Champoux, Y., New empirical equations for sound propagation in rigid framed porous materials. J. Acoust. Soc. Am., 91 (1992) 3346.

- Smith, Peters and Owen, Acoustics and Noise Control, 2nd edn., Addison Wesley Longman Ltd., 1996.

- Allenborough, K., Acoustical characteristics of porous materials. Physics Reports, 82 (1982) 179.

- The Thermal Resistance of mineral wool products with density gradients: Theory and Experimental Procedures. Manuela Campanale, Francesco De Ponte and Lorenzo Moro, Univesita degli Studi Tecnica, Via Venezia 1, 35131 Padova, Italy

- Suman, B.M and Saxena, B.K, Role of Roof Treatment in Thermal Design of Buildings. Architectural Science Review, 1992 V-35, pp. 111-114.

- Verma, V.V, Agarwal K.N and Saxena, B.K, ‘Design of Buildings for thermo-visual comfort in Hilly Region Proceedings of seminar on ‘Energy Efficiency Solar Architecture for Hilly Region of Uttarpradesh’, p.p. 41-54, during 25-26 march, 1996 organized by Deptt. of Civil Engg. & Deptt. of Arch. & Planning, University of Roorkee, Roorkee.

This is certify that the reported work in the paper entitled “An Estimation of Correlation on Thermo-Acoustic Properties of Mineral Wool” submitted for publication in the journal “Journal of Scientific and Industrial Research, National Institute of Science Communication and Information Resources, Dr. K.S. Krishnan Marg, New Delhi – 110012 (India)” is an original one and has not been submitted for publication elsewhere. I/we further certify that proper citation to the previously reported work have been given and no data/tables/figures have been quoted verbatim from other publications without giving due acknowledgement and without the permission of the authors. The consent of all the authors of this paper has been obtained for submitting the paper to the journal “Journal of Scientific and Industrial Research, National Institute of Science Communication and Information Resources, Dr. K.S. Krishnan Marg, New Delhi – 110012 (India)”.

Name of Authors:					Signatures:

- R.K. Srivastava, Sc. – F			----------------------------------

- R.L. Dhabal, Sc. – EII				----------------------------------

- Dr. B.M. Suman, TO – C			----------------------------------

- Anuj Saini, R.I				----------------------------------

- Poonam Panchal, R.I				----------------------------------